## OUTSIDE IBADAN..
S/N | CENTER ID | NAME OF JAMB CBT CENTER | PROF. REVIEW | TECHNICAL REVIEW | CEE APPROVAL | COMMENT
1 | UTME2017/30010001 | LOCAL GOVERNMENT CBT CENTRE, RESERVOIR AREA, BESIDE BAPTIST PRIMARY SCHOOL, AGO-AMODU. OYO STATE | Poor lightning, Proper Trunking Of the Cable and Improve System Numbering. | 275 functional systems Autotest realized capacity: 220 of 250 capacity. AC - cooling Lightening - poor Recommendation: Approved | RECOMMENDED
2 | UTME2021/30000026 | ADESEUN OGUNDOYIN POLYTECHNIC,(AOPE) CBT CENTRE, ERUWA, OYO STATE | AC is not functioning well, need a better generating set, need additional cameras for CCTV footage, Poor lightning, & proper system numbering | 275 functional systems Autotest realized capacity: 246 of 250 capacity. Cctv - inadequate Power issues which they are to resolve this week. Poor lightening No signage Recommendation: Approve | RECOMMENDED
3 | UTME2017/30070001 | NCC/JAMB PROFESSIONAL TEST CENTRE (PTC), BEHIND JOSSY ADEOLU FILING STATION, IGBETI ROAD, IGBOHO. OYO STATE | Improve Lightning, Structural Defect Of The Building That Shows Leakages And Cracks. Bad network Switches | Has 140 functional systems Autotest realized capacity: 124 of 140 capacity. Cctv - sufficient Registration point - ok Centre has structural issues that may pose as a danger. Recommendation: Not approved for Exam. | NOT RECOMMENDED
4 | UTME2017/30040001 | LADOKE AKINTOLA UNIVERSITY OF TECHNOLOGY, CENTRE 1, SKYE BANK HALL , OGBOMOSO. OYO STATE | Improvement Of Registration Area Spaces. Neater Trunking Of The Network Cables. Proper Numbering Of Computers | Has 260 functional systems Autotest realized capacity: 248 of 250 capacity. Cctv - sufficient Registration point - ok AC - inadequate Recommendation: Approved | RECOMMENDED
5 | UTME2017/30040002 | LADOKE AKINTOLA UNIVERSITY OF TECHNOLOGY, CAD CBT CENTRE 2, OGBOMOSO. OYO STATE | No Comment | Has 250 functional systems Autotest realized capacity: 239 of 250 capacity. Cctv - sufficient Registration point - ok Recommendation: Approve | RECOMMENDED
6 | UTME2020/30000015 | LADOKE AKINTOLA UNIVERSITY OF TECHNOLOGY, NEW ICT CENTRE 3 ODL BUILDING, P.M.B 4000, OGBOMOSO. OYO STATE | Trunking Of Cables, Enhancement Of Registraion Area. Re-numbering of the Systems. | Has 275 functional systems Autotest realized capacity: 249 of 250 capacity. Cctv - sufficient Registration point - ok AC not cooling Recommendation: Approved | RECOMMENDED
7 | UTME2019/30000008 | DAMDAV CBT CENTRE I, OPPOSITE KAJOLA LOCAL GOVERNMENT QUARTERS, OKEHO. OYO STATE | Has network issues, To improve on their CCTV | 250 functional systems laptop Autotest realized capacity: 226 of 250 capacity. LAN issues Cctv: ok Rec: Approve with reduced capacity to 200 | RECOMMENDED
8 | UTME2019/30000009 | DAMDAV CBT CENTRE II, OPPOSITE KAJOLA LOCAL GOVERNMENT QUARTERS, OKEHO. OYO STATE. | Proper numbering Of The System. Needs more trained technical staff especially in managing their network. | 250 functional systems laptop Autotest realized capacity: 243 of 250 capacity. LAN - ok Cctv: ok Recommendation: Approve | RECOMMENDED
9 | OY08035258431 | PRO USMAN E-LEARNING CENTRE FEDERAL COLLEGE OF EDUCATION (SPECIAL) OYO | Blurry Cctv Camera Feeeds. Need To Fix Network Issues Arising From The System Firewall. | 275 functional systems Autotest realized capacity: 236 of 250 capacity. Network: ok Cctv: Adequate Back up power: Adequate Recommendation: Approve | RECOMMENDED
10 | UTME2018/30000004 | EMMANUEL ALAYANDE COLLEGE OF EDUCATION, E-LIBRAY, OYO, OYO STATE | No Wall Clock. Blur Cctv Camera. Proper Trunking Of The Cable. Replace Ground Socket. AC not functioninh well, | 240 functiona systems Autotest realized capacity: 233 of 240 capacity. Possible network issues from autotest results No signage Cctv - adequate Recommendation: Approve for 200capacity | RECOMMENDED
11 | UTME2019/30000007 | EMMANUEL ALAYANDE COLLEGE OF EDUCATION, CBT CENTRE 3, EMMAMUEL ALAYANDE COLLEGE OF EDUCATION, ERELU, OYO STATE | No wall Clock, AC is bad. | 250 functional systems Autotest realized capacity: 246 of 250 capacity. AC: Bad Cctv: ok Recommendation: Approve | RECOMMENDED
12 | UTME2020/30000019 | ATIBA UNIVERSITY CBT, KM 5, OYO-ISEYIN EXPRESSWAY OYO TOWNSHIP, OYO STATE | Ac Is Not Working 3 Out 11 Working. No Back Up Computers, Additional Wall Clock, Rerun Autotest. 55% | 250 functional systems Autotest realized capacity: 97 of 100 capacity. AC: not cooling Network: Ok Recommendation: Conditional Approval for 200 capacity | NOT SURE
13 | UTME2020/30000021 | ELECTROMEDIA COMPLEX CENTRE 2, FEDERAL COLLEGE OF EDUCATION (SPECIAL), OYO, OYO STATE | To Fix The Blurry Cctv Live Feeds. | 320 functional systems Autotest realized capacity: 237 of 250 capacity. Cctv: Adequate Recommendation: Approve for 250 capacity | RECOMMENDED
14 | UTME2021/30000030 | SALAMAT OLANIYAN COLLEGE CBT CENTRE, OYO-IBADAN ROAD, OPPOSITE SAW MILL KRAAL ABATTOIR AFTER ILORA JUNCTION, OYO, OYO STATE | No Registration Point. No Technical Staff On Ground. Staff Ground Didn’T Show Any Competence And Have Answer To Basic Questions About The Center | No technical personnel on ground 250 Systems seen Autotest realized capacity: 219 of 220 capacity. Cctv: inadequate Recommendation: Not approved | NOT RECOMMENDED
15 | UTME2017/30060001 | THE OKE-OGUN POLYTECHNIC, SAKI, OYO STATE | Improve Lightning To Improve Illunation. Create Exit Door. Upgrade Ram for some system Cctv Camera To Be Improve. | 250 functional systems Autotest realized capacity: 217 of 250 capacity. AC- cooling Registration points - ok Recommendation: Approve | RECOMMENDED